INDEPENDENT POWER TRANSMISSION OPERATOR S.A.

TNPRD/ SUBSTATION SPECIFICATION SECTION

January 2019

SPECIFICATION SS-31/4

COPPER ALLOY (BRONZE) AND BIMETALLIC POWER CONNECTORS FOR S/S 150/20kV

ATTACHMENT “Α”

1.	Type or description of the

offered connectors				:	…………………………..

…………………….........

…………………….........

…………………….........

…………………….........

…………………….........

…………………….........

…………………….........

…………………….........

…………………….........

…………………….........

…………………….........

…………………….........

2.	Rated voltage				:	…………………………..

3.	Rated short-time current			:	………………….............

4.	Rated normal operating current

4.1	Rated normal operating current

for connectors for copper tube

Φ80/70mm					:	…………………….........

4.2	Rated normal operating current

for connectors for copper tube

Φ60/52mm					:	…………………….........

4.3	Rated normal operating current

for connectors for copper tube

Φ30/24mm					:	…………………….........

4.4	Rated normal operating current

for connectors for copper tube

Φ20/16mm					:	…………………….........

4.5	Rated normal operating current

for connectors for multi-wire

conductor 185mm2				:	…………………….........

4.6	Rated normal operating current

for connectors for multi-wire

conductor 240mm2				:	…………………….........

4.7	Rated normal operating

current for connectors for

multi-wire conductor 400mm2		:	…………………….........

4.8	Rated normal operating current for

connectors for Aluminum ACSR

conductor 32.4mm 				 :	…………………….........

4.9	Rated normal operating current for

Connectors for Aluminum ACSR

conductor 25.04 mm			:	…………………….........

4.10 Rated normal operating current for

connectors for Aluminum ACSR

conductor 17.25 mm			:	…………………….........

5.	Type of alloy for bronze connectors	 :	………………….............

6.	Chemical composition of copper alloy

-Copper (Cu)					 :	………………….............

-Tin (Sn)					 :	………………….............

-Lead (Pb)				 	 :	………………….............

-Zinc (Zn)					 :	………………….............

7.	Type of aluminum alloy for

bimetallic connectors			 :	………………….............

8.	Chemical composition of aluminum alloy

-Aluminum (Αl)				 :	………………….............

-Silicon (Si)					 :	………………….............

-Magnesium (Μn)				 :	………………….............

9.	Material of assembling components	 :	………………….............

10.      For bronze connectors

a. Tensile strength				:	………………….............

b. Elongation					:	………………….............

c. Yield point at 0.5% elongation		:	………………….............

11.	For alluminum alloy connectors

a. Tensile strength				:	………………….............

b. Elongation					:	………………….............

c. Yield point at 0.2% elongation		:	………………….............

d. Hardness					:	………………….............

e. Specific resistance.		          :	…………….…………….

12.	Is necessary to use special grease to

cover the contact surface of the clamp?

If yes indicate the type and quality.	 :	…………….…………….