INDEPENDENT POWER TRANSMISSION OPERATOR S.A.

NTPD/ SPECIFICATIONS & EQUIPMENT SECTOR S/S – EHV S/S

# July 2008

SPECIFICATION SS - 68/3

DIGITΑL DIFFERENTIAL RELAY FOR AUTOTRANSFORMER PROTECTION.

ATTACHMENT "Α"

1. Type of the offered relay						: ………………………

2. Operating temperature range of the relay				: ………………………

- Analog Inputs of the relay

a. Rated Current						: ………………………

b. Rated Burden						: ………………………

4. Digital Inputs

a. Rated Voltage						: ………………………

b. Rated Voltage tolerance					: ………………………

5. Trip contacts

a. Number of trip contacts					: ………………………

b. Continuous current rating 					: ………………………

c. Switching making capacity 				: ………………………

d. Switching breaking capacity 				: ………………………

e. Current rating for 0.5 sec 					: ………………………

f. Rated Voltage						: ………………………220V DC

6. Alarm contacts

a. Number of alarm contacts 					: ………………………

b. Are they selectable?					: ………………………

c. Rated Voltage						: ………………………220V DC

7. Auxiliary Voltage supply of the relay				: ………………………

8. Auxiliary Voltage supply tolerance of the relay			: ………………………

9. Is the offered relay of the draw-out

type and suitable for surface panel mounting?			: ………………………

10. Describe the operating characteristic of the relay			: ………………………

: ………………………

: ………………………

: ………………………

11. Is the relay equipped with current transformer

ratio adaptation (correction)?					: ………………………

: ………………………

: ………………………

12. Are second and fifth harmonics and autotrans-

former inrush currents blocked?					: ………………………

: ………………………

: ………………………

13. Is restrain provided against external faults with

current transformer saturation?					: ………………………

: ………………………

: ………………………

14. Is the out- of- balance current due to tap-changing

or current mismatch compensated?				: ………………………

15. Is restricted earth fault protection provided?			: ………………………

: ………………………

: ………………………

16. Is automatic short-circuiting of the current contacts

available in the case where the current input unit (if any)

is of the draw out type?	: ………………………

17. Degree of protection of the relay case				: ………………………

18. Is the relay equipped with screw type terminals

suitable for 2.5mm2 conductors?					: ………………………

19. Is the relay equipped with an integral keyboard

and display for parameter setting?				: ………………………

20. Can the relay be set by PC?					: ………………………

21. Is the offered relay equipped with self-diagnostics?		: ………………………

22. Is the offered relay equipped with fault recording?		: ………………………

23. Is the offered relay equipped with measurements

capability?							: ………………………

24. Describe in brief the measurement feature capabilities		: ………………………

: ………………………

: ………………………

25. Can the offered relay be synchronized via a substation

automation control system's master clock?			: ………………………

: ………………………

26. Is the offered relay equipped with two serial ports?

One for connection to a PC, the other for connection

to the digital computerized substation control system?		: ………………………

27. What is the communication protocol used for the

connection of the relay to the digital computerized 		: ………………………

substation control system?					: ………………………

: ………………………

28. Is software provided?						: ………………………

29. Type of software provided					: ………………………

: ………………………

: ………………………

30. Is the offered relay of the modular type?				: ………………………

: ………………………

Α. G./me/20.3.2002

A.G./mm/4.7.2003

PK/pm/16.7.2008