INDEPENDENT POWER TRANSMISSION OPERATOR S.A.

NTPD/ SPECIFICATIONS & EQUIPMENT SECTOR S/S – EHV S/S

February 2011

SPECIFICATION SS -78/3

52KV SF6 OUTDOOR CIRCUIT BREAKERS

ATTACHMENT ΄΄Α΄΄

All bidders must provide the following data. Failure to comply in full shall constitute sufficient reason for rejection if the offer

  - Type and manufacture                                                            : ………………………

  - Ambient temperature range                                                    : ………………………

  - Type of interrupter technology                                              : ………………………

…………………………

…………………………

  - Number of operating mechanisms                                         : ………………………

…………………………

  - Operating mode                                                                     : ………………………..

…………………………

  - Number of interrupting units                                                 : ……………………….

…………………………

  - Type of gas used in the breaking chamber                            : ……………………….

  - Is the SF6 gas in accordance with IEC – 60376?                  : ……………………….

  - Type and description of the operating mechanism                : ……………………….

………………………...

………………………...

………………………...

  - Auxiliary supply voltages

    - For the opening and closing circuits                                   : ……………………….

b. For all other control and signaling circuits                        : ……………………….

c. For the heating and light circuits                                        : ……………………….

d. For the motor of the operating mechanism                        : ……………………….

  - Describe the basic elements of the circuit

breaker’s structure                                                                  : ……………………….

………………………...

………………………...

12.    Is the circuit breakers control

and operating mechanism cabinet in accordance

with the requirement of paragraph

VII – 9 –a to p                                                                        : ……………………….

a. If no, indicate deviations                                                    : ……………………….

………………………...

………………………...

………………………...

13.    Is the circuit breaker equipped

with two separate cabinets ?

One for control and the other

for the operating mechanism ?                                               : ……………………….

………………………...

a.If yes, then does the control

cabinet contain items a to j and

n to p of paragraph VII – 9 ?                                                 : ….................................

………………………...

And does the operating mechanism

cabinet contain items k, l ,m, n and a

of paragraph VII – 9 ?                                                            : ……………………….

………………………...

- Type of housing of the isolating column and of

the breaking chamber and indicate

compliance with the relevant IEC standard                            : ………………………

.………………………..

………………………...

……………………….

- Creepage distance of the isolating column

and breaking chambers housing

  - Between live parts and earth                                            : ……………………….

  - Across breaker terminals                                                 : ……………………….

- Size of wires ( cables ) used in the circuits

of the breaker’s operating mechanisms                                  : ………………………

………………………..

- Is a drawing provided in which the method

of the breaker lifting is indicated ?                                         : ………………………

18.    Are special tools needed for the lifting

of the breaker?                                                                        : ………………………

- Can the breaker be operated without the use

of the D.C. auxiliary supply voltage?                                     :……………………….

- Static terminal load withstand capability

  - Static horizontal force

Longitudinal                                                                     : ……………………….

Transversal                                                                       : ……………………….

  - Static vertical force                                                             : ………………………

21.    Wind speed and pressure capability of the breaker

a. Wind speed in km/h withstand                                           : ……………………….

b. Pressure in kg/m2 withstand with coefficient of

dynamic pressure 1.0                      			: ………………………

22.   Wind pressure withstand capability of the

breaker’s steel supporting structure                                        : ………………………

23.   Material, shape and dimensions of the circuit

breaker’s terminals                                                                   : ………………………

………………………...

………………………...

24.   Rated characteristics

a. Rated voltage                                                                      : ……………………….

b. Rated frequency                                                                  : ………………………

c. Rated normal current                                                          : ……………………….

d. Rated power frequency withstand voltage

Phase to earth, between phases and

across open circuit breaker contacts                             : ……………………….

  - Rated lightning impulse withstand voltage

Phase to earth, between phases and

across open circuit breaker contacts                              : ………………………

  - Rated short circuit breaking current

a.c. component, rms value                                             : ………………………

d.c. component, % value                                                : ………………………

g. Rated transient recovery voltage for terminal faults

Peak value                                                                      : ………………………

Rate of rise of recovery voltage (RRRV)                     : ………………………

First – pole –to – clear factor                                         : ………………………

h.   Rated transient recovery voltage

for out-of-phase

- Peak value                                                                  : ……………………….

- Rate of rise of recovery voltage (RRRV)                  : ……………………….

- First-pole-to clear factor                                            : ……………………….

i.    Rated short – circuit making current                                : ………………………

j.    Rated operating sequence                                                 : ………………………

k.   Rated duration of short circuit                                          : ………………………

l.     First –pole – to – clear factor                                           : ………………………

m.  Rated short – time withstand current                                : ………………………

- Rated peak withstand current                                            : ………………………

o.   Rated cable – charging breaking current                          : ………………………

p.   Rated out – of – phase breaking current                           : ………………………

q.   Rated out – of – phase making current                             : ………………………

r.   Mechanical endurance class                                              : ………………………

s.   Electrical endurance class                                                 : ………………………

t.   Restrike class                                                                     : ………………………

u.   Rated break time                                                               : ………………………

v.   Rated closing time                                                            : ………………………

w.   Rated opening time                                                          : ………………………

27.    Inductive breaking current                                                      : ………………………

28.    Switching inductive current                                                    : ………………………

- Dead time between closing and opening or vise – versa        : ……………………...

………………………..

30.    Simultaneity difference between poles ( ON/OFF)               : ……………………….

………………………...

31.    Is the circuit breakers frame equipped with

an earthling terminal as described in paragraph VIII – 8      : ……………………….

- Type of main contacts                                                            : ……………………….

- Material of the main contacts                                                 : ……………………….

- Arc quenching medium ( SF6)

  - Rated pressure of SF6 in bar or MPa                            : ……………………….

  - SF6 alarm pressure in bar MPa                                     : ……………………….

  - SF6 lockout pressure in bar or MPa                              : ……………………….

  - SF6 loss – rate /year                                                      : ……………………….

  - Mass of SF6 for the entire breaker                                : ……………………….

  - Minimum SF6 operating pressure                                 : ……………………….

- Number of auxiliary free contacts                                         : ………………………

………………………..

- Number of tripping coils                                                       : ……………………….

- Number of closing coils                                                        : ……………………….

- Power consumption

  - Closing coil (D.C.)                                                      : ……………………….

  - Trip coil (D.C.)                                                            : ………………………

  - Heaters                                                                          : ………………………

  - Light bulb                                                                      : ………………………

- Spring type operating mechanism data

  - Motor voltage                                                               : ……………………….

  - Motor power when running                                         : ……………………….

  - Voltage operating tolerance                                         : ……………………….

  - Motor power during starting                                        : ……………………….

- Weight of the entire breaker complete with SF6                   : ……………………….

- Weight of the entire breaker complete with SF6 and

all fittings as in service                                                         : ……………………….

- Is the breaker of the live tank type?                                     : ……………………….

- IP class protection of breaker’s control and

operating mechanism cabinet                                                : ………………………

………………………...

- If applicable, IP class protection of

  - Control cabinet                                                              : ……………………….

  - Operating mechanism cabinet                                       : ……………………….

45.     Type of tripping as per IEC – 60050 (441)                          : ……………………….

46.     Dimensions of the breaker                                                    : ……………………….

- Tolerances of the auxiliary dc supply

voltage of the tripping coil 				          : ……………………….

- Is the circuit breaker delivered filled with the

appropriate for its operation quantity of SF6 gas? 	          : ……………………….

49.     Is each circuit breaker to be packaged in accordance

with the paragr. XV of this hereby specification?	         : ……………………….