INDEPENDENT POWER TRANSMISSION OPERATOR S.A.

NTPD/ SPECIFICATIONS & EQUIPMENT SECTOR S/S – EHV S/S

June 2011

SPECIFICATION Νο SS-80/4

REVISION No.4

36KV OUTDOOR INDUCTIVE TYPE VOLTAGE TRANSFORMERS

<< ATTACHMENT Α>>

Data to be provided by all bidders. Failure to comply will constitute reason for rejection of the offer.

- Type and manufacture				: …………………………………..

…………………………………..

…………………………………..

…………………………………..

…………………………………..

- Ratio						: …………………………………..

- Rated frequency					: …………………………………..

    - Number of secondary windings			: …………………………………..

…………………………………….

5. Is the VT of flexible tank and with bushings?	: …………………………………..

6. Is the VT of the hair pin design and bellows?	: …………………………………..

7. Is the VT equipped with the following.

a. Oil level indicator					: …………………………………..

b. Earthling (ground) terminal			: …………………………………..

c. Drain valve						: …………………………………..

d. Filling plug						: …………………………………..

e. Lifting lugs						: …………………………………..

8. Can the VT operate below the

knee point of its magnetizing curve even at 36KV?: …………………………………..

9. Is the primary winding fully insulated?		: …………………………………..

10. Are the secondary terminals inside

a metallic terminal box ?				: …………………………………..

11. Is the secondary terminal box hot-dip galvanized ?: …………………………………..

12. Is the secondary terminal box

equipped with a removable cover and threaded

outlet for conduit or cable gland ?			: …………………………………..

13. Type of material and dimensions

of the primary phase (fully insulated) terminal	: …………………………………..

14. Type of material of the primary neutral terminal	: …………………………………..

15. Bushings characteristics (if applicable)

a. Type							: …………………………………..

b. Rated voltage (phase)				: …………………………………..

c. Rated voltage (Neutral)				: …………………………………..

d. Creepage distance (phase)				: …………………………………..

e. Creepage distance (Neutral)			: …………………………………..

f. Type of the insulating housing			: …………………………………..

16. Type of the insulating housing for

VT with bellows (if applicable)			: …………………………………..

17. Type of metal of the bellows			: …………………………………..

18. Description and type of the insulating oil		: …………………………………..

19. Is the insulating oil in accordance with IEC-60296 ?: ………………………………..

20. Are the secondary windings protected by 6A fuses?: ………………………………..

21. Are the metallic parts of the VT with the

exemption of the terminals, not-dip galvanized?	: ...………………………………..

22. Is the VT suitable to be installed on a

steel support structure?				: …………………………………..

23. Secondary windings characteristics

Metering Winding

  - Rated voltage					: …………………………………..

  - Rated output					: …………………………………..

  - Accuracy class					: …………………………………..

  - D. Percentage voltage error			: …………………………………..

  - Phase displacement				: …………………………………..

Protection Winding (for residual voltage )

  - Rated voltage					: …………………………………..

  - Rated output					: …………………………………..

  - Rated thermal limiting output			: …………………………………..

  - Accuracy class					: …………………………………..

  - Percentage voltage error			: …………………………………..

f. Phase displacement				: …………………………………..

24. Power frequency withstand

voltage of the secondary windings		: …………………………………..

25. Lightning impulse withstand voltage for the

phase primary winding and terminal		: …………………………………..

26. Power frequency withstand voltage

for the phase primary winding and terminal	: …………………………………..

27. Power frequency withstand voltage for

the neutral primary winding and terminal	: …………………………………..

28. Partial discharge level				: …………………………………..

29. Chopped lighting impulse withstand of

the primary phase winding and terminal		: …………………………………..

30. Limits of the temperature rise of the windings	: …………………………………..

31. Temperature category				: …………………………………..

32. Rated voltage factors

a. Continuous						: …………………………………..

b. For 30seconds					: …………………………………..

33. Total oil weight					: …………………………………..

34. Total VT weight including oil			: …………………………………..

35. Cross-section and material of the

conductor of the primary winding		: …………………………………..

36. Number of primary winding turns		: …………………………………..

37. Does the Supplier provide a warranty

according to paragr. XIV? 			: ......................................................

38. Will the package of the transformers follow the

requirements of par. XIII of this hereby specification?: ……………………...........