INDEPENDENT POWER TRANSMISSION OPERATOR S.A.

NTPD/ SPECIFICATIONS & EQUIPMENT SECTOR S/S – EHV S/S

# December 2019

SPECIFICATION SS – 100/5

DIGITAL DIFFERENTIAL RELAY FOR

TRANSFORMER PROTECTION.

ATTACHMENT “A”

1. Type of the offered relay					: ..................................................

2. Operating temperature range of the relay		: ..................................................

3. Analog Inputs of the relay

a. Rated Current						: ..................................................

b. Rated Burden						: ..................................................

4. Digital Inputs

a. Rated Voltage						: ..................................................

b. Rated Voltage tolerance 				: ..................................................

5. Trip contacts

a. Number of trip contacts				: ..................................................

b. Continuous current rating				: ..................................................

c. Switching making capacity				: ..................................................

d. Switching breaking capacity				: ..................................................

e. Current rating for 0.5 sec				: ..................................................

f. Rated Voltage						: ..................................................

6. Alarm contacts

a. Number of alarm contacts				: ..................................................

b. Are they selectable?					: ..................................................

c. Rated Voltage				                      : ..................................................

7. Auxiliary Voltage supply of the relay			: ..................................................

8. Auxiliary Voltage supply tolerance of the relay	: ..................................................

9. Is the offered relay of the draw-out type

and suitable for surface panel mounting?		: ..................................................

10. Describe the operating characteristic of the	relay	: ..................................................

....................................................

....................................................

....................................................

11. Is the relay equipped with current transformer

ratio adaptation (correction)?				: ..................................................

....................................................

12. Is the relay equipped with current transformer

ratio and angle adaptation?				: ..................................................

..................................................

13. Is the relay suitable for transformer + 20KV bus

zone differential protection?				: ..................................................

14. Are second and fifth harmonics and

autotransformer inrush currents blocked?		: ..................................................

..................................................

..................................................

15. Is restrain provided against external faults with

current transformer saturation?			: ..................................................									  ..................................................

..................................................

16. Is the out- of- balance current due to tap-changing

or current mismatch compensated?			: ..................................................

17. Is restricted earth fault protection provided?		: ..................................................

..................................................

..................................................

18. Is automatic short-circuiting of the current contacts

available in the case where the current input unit

(if any) is of the draw out type?			: ..................................................

19. Degree of protection of the relay case		: ..................................................

20. Is the relay equipped with screw type terminals

suitable for 2.5mm2 condructrors?			: ..................................................

21. Is the relay equipped with an integral keyboard

and display for parameter setting?			: ..................................................

22. Can the relay be set by PC?				: ..................................................

23. Is the offered relay equipped with self-diagnostics? : ..................................................

24. Is the offered relay equipped with fault recording? 	: ..................................................

25. Is the offered relay equipped with measurements

capability?						: ..................................................

26. Describe in brief the measurement feature

capabilities						: ..................................................

..................................................

..................................................

27. Can the offered relay be synchronized via a substation

automation control system’s master clock?		: ..................................................

..................................................

28. Is the offered relay equipped with two serial ports?

One for connection to a PC, the other for

connection to the digital computerized substation

control system?						: ..................................................

29. What is the communication protocol used for the

connection of the relay to the digital computerized

substation control system?	                            	: ..................................................

..................................................

..................................................

30. Is software provided?					: ..................................................

31. Type of software provided				: ..................................................

..................................................

..................................................

32. Power consumption of the relay 			: ..................................................

33. Is the offered relay of the modular type?		: ..................................................

..................................................

34. Are zero sequence currents filtered?                      : ..................................................

..................................................

me/AG/26/3/2002

Revision No.2/IIδ/pm/AG/October 2004

Revision No.3/IΙδ/nn/AG/Apri/2006

Revision No.4/IΙδ/πμ/AG/June/2006