March 2012

INDEPENDED POWER TRANSMISSION OPERATOR SA

## SPECIFICATION SS – 108/5

NUMERICAL DISTANCE PROTECTION RELAYS FOR THE 400KV TRANSMISSION LINES

ATTACHEMENT   “A”

- Type of the offered relay	:……………………………………………

- Temperature tolerance range 	:. .……………………………………………

- Analog  Inputs of the relay:

  - Rated current	: ……………………………………………

  - Rated voltage	: ……………………………………………

- Digital Inputs:

  - Rated voltage	: ……………………………………………

  - Rated voltage tolerance	: ……………………………………………

  - Number of inputs                                    : ……………………………………………

- Heavy duty Output Contacts

  - Number of heavy duty contacts	: ……………………………………………

  - Continuous current	: ……………………………………………

  - Short-time current (0.5 sec)	: ……………………………………………

  - Switching making capability	: ……………………………………………

  - Switching breaking capability	: ……………………………………………

- Signaling contacts

  - Are they configurable?	: ……………………………………………

  - Number of signaling contacts	: ……………………………………………

  - Rated  voltage	: ……………………………………………

  - Continuous current	: ……………………………………………

  - Switching making capability	: ……………………………………………

  - Switching breaking capability

- Auxiliary supply voltage	: ……………………………………………

- Auxiliary supply voltage tolerance	: ……………………………………………

- Is the offered relay of the modular design
type?	: ……………………………………………

- Is the offered relay suitable for panel flush
mounting?	: ……………………………………………

- Is automatic short-circuiting of the current
contacts available in the case where the 
current input unit is of the draw out type?	: ……………………………………………

- Degree of protection of the relay case	: ……………………………………………

- Is the relay equipped with screw type
 terminals suitable for 2.5mm2 conductors	: ……………………………………………

- Type of measurement characteristic	: ……………………………………………

- Number and description of the zones	: ……………………………………………

………………………………………………

………………………………………………

- Reach of the zones	: ……………………………………………

..……………………………………………

..……………………………………………

- Are the zones selectable?	: ……………………………………………

- Criteria used for fault detection	: ……………………………………………

..……………………………………………

- Operating (response) time of the relay	: ……………………………………………

- Reset time of the relay	: ……………………………………………

- Is the relay equipped with an integral
keyboard and display for parameter setting?: ……………………………………………

- Can the relay be set by PC?	: ……………………………………………

- How is the relay protected against 
electrical noise and transients?	: ……………………………………………

..……………………………………………

- Is the relay equipped with switch onto
fault protection?	: ……………………………………………

- Is the relay equipped with trip circuit 
supervision?	: ……………………………………………

- Does the offered relay comply with the
 requirements of paragraph X-3?	: ……………………………………………

..……………………………………………
..……………………………………………
..……………………………………………

- Describe the autoreclosure feature of the
offered relay	: ……………………………………………

..……………………………………………
..……………………………………………
..……………………………………………

- Is the offered relay equipped with 
synchrocheck?	: ……………………………………………

- Is the offered relay equipped with Power
swing blocking?	: ……………………………………………

- Is the offered relay equipped with 
fault locator?	: ……………………………………………

- Is the offered relay equipped with 
directional earth fault protection?	: ……………………………………………

- Is the offered relay equipped with 
self monitoring (checking) feature?	: ……………………………………………

- Is the offered relay equipped with 
breaker failure protection?	: ……………………………………………

- Describe how the breaker failure protection
 feature operates 	: ……………………………………………

..……………………………………………
..……………………………………………
...……………………………………………

- Is the offered relay equipped with 
disturbance recording?	: ……………………………………………

- Is the offered relay equipped with internal	
synchronization clock?	: ……………………………………………

..……………………………………………

- Can the offered relay be synchronized via 
a master clock belonging to a substation
automation control system?	: ……………………………………………

- Is the offered relay equipped with 
measurement feature?	: ……………………………………………

- Is the offered relay equipped with two
serial ports? One for connection to a PC, the
other for connection to a digital
computerized substation control system?	: ……………………………………………

..……………………………………………
..……………………………………………

- What is the communication protocol used
for the connection of the relay to the digital
 computerized substation control system?	: ……………………………………………

- Is software provided?	: ……………………………………………

..……………………………………………

- Is a number of cables for the

communication of the relay

with PC provided?                                        : ……………………………………………

- Is the software windows based?	: ……………………………………………

- Can the software be used for parameter 
settings, analysis of fault data and record 
and commissioning?	: ……………………………………………

- What is the memory capacity of the
 disturbance recorder?	: ……………………………………………

- Haw many faults can be stored in the 
memory of the disturbance recorder? And
what is the time length of fault?	: ……………………………………………

..……………………………………………

- For the teleportaction function, indicate

modes of operation                                       : ……………………………………………

..……………………………………………

…………………………………………….

…………………………………………….

48. Guarantee of five (5) years at least? 	: ……………………………………………
 	…………………………………………….

…………………………………………….

- -Have the offered devices been certified

by conformance test performed in

accordance with IEC 61850-10? 	: ……………………………………………

-Are certificates provided?                             :  …………………………………………...