INDEPENDENT POWER TRANSMISSION OPERATOR S.A.

NTPD/ SPECIFICATIONS & EQUIPMENT SECTOR S/S – EHV S/S

SPECIFICATION  SS-131 / 6

PHASE AND EARTH

DEFINITE AND INVERSE TIME

OVERCURRENT RELAYS

WITH DIRECTIONAL CAPABILITY

FOR BOTH PHASE AND EARTH

FOR 150 kV TRANSMISSION LINE & TRANSFORMERS BAYS PROTECTION

ATTACHMENT  “A”

1.	Type of the offered relay		:	…………………………………..

2.	Is the offered relay suitable for

flush mounting or surface

mounting?                                     :	…………………………………..

3.	Relay rated current			:	…………………………………..

4.        Relay rated voltage                      :           …………………………………

5.	Relay rated frequency		:	…………………………………..

6.	Relay auxiliary voltage

(Power supply)			:	…………………………………..

7.	Are the relay’s terminals of the

screw type  and suitable for

2.5 mm2 conductors ?		:	…………………………………..

8.	Does the relay meet the required

functions listed in paragraph VI

of the specification  ?		:	…………………………………..

9.	Relay setting ranges.

9.a.	Definite Time.

9.a.1.

| Low Overcurrent Element | Range |
| --- | --- |
| Phase | ………….. x In in steps |
| Earth | ………….. x In in steps |
| Delay time for phase and earth | ……………… in steps |

9.a.2.

| High Overcurrent Element | Range |
| --- | --- |
| Phase | ………….. x In in steps |
| Earth | ………….. x In in steps |
| Delay time for phase and earth | …………… in steps |

9.b.	Inverse Time.

| Overcurrent Element | Range |
| --- | --- |
| Phase | ………….. x In in steps |
| Earth | ………….. x In in steps |
| Time multiplier | ………………. in steps |

10.	Can the relay block 2hd harmonics ?    :	…………………………………..

11.	List all relay contacts and their

characteristics	                              :	…………………………………..

(acc. § X.d)					…………………………………..

…………………………………..

12.      Is the relay equipped with fault

recording capability?                             : ………………………………….

13.      Is the relay equipped with breaker

failure function?	                              : ………………………………….

14.      Can the relay operated with the

the assumptions of paragraph VIII?     : ………………………………….

15.      Is any parameterization software

provided?                                             : ………………………………….

16.      Is the offered relay equipped with two (2)

serial ports? One for connection to a PC,

and the other for connection to a digital

computerized substation control system? : ………………..………..……

17.      Can the relay be configured by an

integrated keyboard and an LC screen

and also by a PC?	                                 : ………………………………

18.      Is guarantee of good operation for a period

of at least five (5) years provided ? 	: …………………………………

19.     Have the offered relays been certified

by conformance test performed in

accordance with IEC 61850-10?           : ………………………………..…

-Are certificates provided?                    : …………………………….…….

20.      Power consumption of the relay           : ………………………………….

21.      Weight of the relay                               : ………………………………….

22.      Dimensions of the relay                        : ………………………………….

II/AG/a.k/SS-131e/18.07.2000

ΙΙδ/pm/AG/JUNE 2004

IIδ/GS/August 2006

ΙΙδ/pm/IA/July 2008

ΙΙδ/pt/IA/November 2008