INDEPENDENT POWER TRANSMISSION OPERATOR S.A.

NTPD/ SPECIFICATIONS & EQUIPMENT SECTOR S/S – EHV S/S

April 2010

SPECIFICATION No SS-136/3

36 kV METAL OXIDE SURGE ARRESTERS WITHOUT GAPS

΄΄ATTACHMENT A΄΄

INFORMATION BY BIDDERS

Failure to comply shall constitute sufficient reason for rejection of the offer.

1.	Type of offered surge arrester		:	.............………………..

2.	External housing characteristics

a. Insulation material of the external

housing					:	........…………….………

b. Lightning impulse voltage withstand

(1,2/50μs)					 :	...........………………….

c. Power frequency voltage withstand, wet :	...........………………….

d. Creepage distance			:	...........………………….

e. Shed profile				:	...........………………….

3.	Number of units of which the surge

arrester consists of				:	...........………………….

4.	Surge arrester required characteristics

a. Continuous operating voltage (COV) Uc:	........…………….………

b. Rated voltage, Ur				:	........…………….………

c. Rated frequency				:	........…………….………

d. Nominal discharge current (8/20μς)    :	........…………….………

e. Maximum residual voltage at switching impulse (30/60μs)

at 125 A				:	........…………….………

at 500A				:	........…………….………

at 1KA				:	........…………….………

f. Maximum residual voltage at lightning

impulse (8/20μς)

at 5 kA				:	........…………….………

at 10 kA				:	........…………….………

at 20 kA				:	........…………….………

g. Energy capability

Line discharge class			:	........…………….…….

Energy withstand			:	........…………….………

k. High current impulse withstand		:	........…………….………

i. Short circuit withstand capability	:	........…………….………

5.	Is the silicon rubber external

housing in accordance with

IEC-61462 standard? 			:	........…………….………

6.	Type of material, shape

and dimensions of the line

terminal					:	........…………….………

........…………….………

........…………….………

7.	Type of material and shape

of the ground (earth) terminal		:	.............………………..

8.	Are all metal fitting of the

arrester of hot-dip galvanized

steel or of aluminum alloy or stainless

steel?		                                          :	........…………….………

9.	Are the bolts, nuts and washers

which are needed for the mounting

of the arrester part of the supply?		:	........…………….………

10. 	Are the bolts, nuts and washers

of hot dip galvanized steel or

stainless steel? 				:	........…………….………

11.    	Is the silicon rubber	housing molded

directly to the MOV blocks?		           :	.............………………..

12.	Temporary over-voltage capabilities of the arrester

For 1 second				:	........…………….………

For 10 seconds			:	........…………….

13.     Internal partial discharge level		:	........…………….………

14.     Bending moment of the

surge arrester                                  	:	...........…………………

15.      List all internal components of

the surge arrester 				:	...........…………………

........…………….………

........…………….………

…………………………..

…………………………..

16.	Weight of the arrester			:	.............………………..

17. 	Indicate the size of the grounding

(earthing) lead and the type of material

which shall consist of .			 :	...........…………………

18. 	Maximum residual voltages

at steep impulse (4/10μς)

at 5 kA				:	........…………….………

at 10 kA				:	........…………….………

19.      Is the arrester equipped

with a pressure relief diaphragm?		 :	........…………….………

20.	Type of silicon rubber used

in the proposed arrester			:	........…………….………

21.	Type of material of the name-plate

of the arrester				:	...........………………….

22.	Is the offered silicon rubber

hydrophobic and resistant to pollution

and UV radiation? 				:	...........………………….

23.	Is the surge arrester suitable for upright

vertical mounting on steel structure? 	:	...........………………….

24. Is the surge arrester equipped

with a device combining surge counting

and leakage current metering?                                   :………………………………..

25.Is the surge arrester equipped with four (4)

support insulators for the installation of the

surge counter/leakage current meter?                         :………………………………..

26.Number of digits of the surge counter/leakage

current meter                                                                 :………………………………..

27.Basic impulse voltage insulation level of the

support insulators.                                                         :………………………………..