INDEPENDENT POWER TRANSMISSION OPERATOR S.A.

NTPD/ SPECIFICATIONS & EQUIPMENT SECTOR S/S – EHV S/S

February 2010

TECHNICAL DESCRIPTION TD-04/5

SINGLE CORE UNDERGROUND 150 kV CABLES

WITH CROSS - LINKED POLYETHYLENE INSULATION (XLPE)

ATTACHMENT "A"

Failure to provide all information will result in rejection of the offer.

A.	Conductor

- Nominal conductor cross section	…………………..…………. mm2

- Conductor material	………………………………………

- Minimum outer diameter	…………………..…………..mm

- Maximum outer diameter	…………………………..…..mm

- DC resistance at 20° C	…………………..……....μΩ/m

- AC resistance at 90° C	……………………..…... μΩ/m

- Number of wires	…………………..…………………

- Nominal diameter of each wire	……………………………….mm

B.	Semi-conducting layers

Do semi-conducting layers meet the

Requirements of par. XI?                                                  .................................

Conductor semi-conducting layer

- Nominal thickness		mm

- Minimum outer diameter		mm

- Maximum outer diameter		mm

- Specific electrical resistance		Ω.m

- Material of the semi-conducting layer	…………………………………….

Insulation semi-conducting layer

- Nominal thickness		mm

- Minimum outer diameter		mm

- Maximum outer diameter		mm

- Specific electrical resistance		Ω.m

- Material of the semi-conducting layer	…………………………………….

Outer sheath semi-conducting layer

- Nominal thickness		mm

- Minimum outer diameter		mm

- Maximum outer diameter		mm

- Specific electrical resistance		Ω.m

- Material of the semi-conducting layer	…………………………………….

C.	Insulation

- Material of the insulation

- Nominal thickness		mm

- Minimum outer diameter		mm

- Maximum outer diameter		mm

- Maximum dielectric stress		kV/mm

D.	Metallic sheath

D1.	Lead alloy sheath

1. Type of alloy and description of

its chemical composition	………………………………………

- Nominal thickness		mm.

- Minimum outer diameter		mm

- Maximum outer diameter		mm

- Tension strength		.N/mm2

- Material and data of the longitudinal protection

or

D2.Alternative sheath of Aluminum and Copper

1. 	Type of sheath material	……………………………..…….

2.	Nominal thickness		mm.

3.	Minimum outer diameter		mm

4.	Maximum outer diameter		mm

5.	Tension strength		.N/mm2

6.	Number of copper wires

7.	Nominal diameter of each copper wire

8.	Material and data of the longitudinal protection

or

D3.Alternative sheath of Aluminum

1. 	Type of sheath material	……………………………..…….

2.	Nominal thickness		mm.

3.	Minimum outer diameter		mm

4.	Maximum outer diameter		mm

5.	Tension strength		.N/mm2

6.	Material and data of the longitudinal protection

E. 	Cable outer sheath

E1.	PVC sheath

1. Nominal thickness of the sheath	…………………..…………..mm  2. Material and method of application of

the conducting sheath	.................................

or

E2.	Alternative HDPE-MDPE sheath

1. Nominal thickness of the sheath	…………………..…………..mm

2. Material and method of application of

the conducting sheath	.................................

F. Cable

1. Maximum outer diameter of the single core cable	…………………..…………..mm

2.	Minimum outer diameter of the single core cable	…………………..…………..mm

3. Cable inductive reactance (XL)	……………….…….……μΩ/kV

4. Capacitance at full load	……….…………….……μΩ/kV

- Maximum continuous circuit (3 cables)

current based on the data of the study and the paragraphs

V, VI, VIII, IX and X, conductor temperature

of 90° C and the metallic sheaths earthed at one end	…………………………….….....Α

- Maximum continuous circuit (3 cables) current
based on the data of the study and the paragraphs

V, VI, VIII, IX and X, conductor temperature of 90° C

and the metallic sheaths earthed at both ends	……………………….……….....Α

- Maximum continuous circuit ( 3 cables) current
based on the data of the study and the paragraphs

V, VI, VIII, IX and X, conductor temperature

of 90° C and the metallic sheaths cross earthed	……………………………….....Α

- Maximum continuous current for two parallel
circuits (6 cables) based on the data of the study

and the paragraphs V, VI, VIII, IX and X,

conductor temperature of90° C and the	Circuit I……………….………A
    metallic sheaths earthed at one end	Circuit II…………..….....…A

9. Maximum continuous current for two parallel

circuits (6 cables) based on the data of the study and the

paragraphs V, VI, VIII, IX and X, conductor

temperature of 90° C and the metallic sheaths	Circuit I…………….…………A
earthed at both ends	Circuit II…………….…...…A

10. Maximum continues current for two parallel circuits

(6 cables) based on the data of the study and

the paragraphs  V, VI, VIII, IX and X, conductor

temperature of 90° C and the metallic sheaths	Circuit I…………….…………A
 cross earthed	Circuit II…………….…...…A

11.	Weight of the cable		kg/m

12.	Minimum bending radius	……..

13. Positive sequence impedance of

one circuit (3 cables) (Zl + JR1)

14.	Zero sequence impedance of
one circuit (3 cables) (Zo + JRo)	……………………..…………………

15. Losses (for 3 cables)

-	in conductors (on load)		W/m

-	in lead alloy sheaths(on load)	……………………….……...W/m

-	dielectric (on load)		W/m

16.	Losses (one circuit – 3 cables)

- in the conductor		W/m

- in the sheath		W/m

- dielectric		W/m

17.	Short circuit current capability

- in conductors	…………..…….………kA for 1 s

- in the sheath	……………….….kA for 0.5 s

18. Impulse withstand voltage	…..……………………….……..kV

19. Maximum pulling tension	…………………..…………….daN

20. A.C 50 Hz voltage withstand
     for 30 min	………………….…………………kV

21. Does the offered cable meet the
      requirements of paragraphs XIII? XII? XV?	………………………………………

22. Line resistance (Ω/Km) 	………………………………………

ΙΙδ/sp/AG/September 2005

ΙΙδ/pm/AG/May 2006

Iiβ/gs/March 2009

ΙΙδ/pm/IA/September 2009

ΙΙδ/pm/IA/February 2010