INDEPENDENT POWER TRANSMISSION OPERATOR S.A.

TECHNICAL DESCRIPTION TD-16/5

DIGITAL DISTANCE PROTECTION RELAYS

FOR TRANSMISSION 150 kV NETWORKS

FEBRUARY 2019

ATHENS

ATTACHMENT   “A”

- Type of the offered relay	:……………………………………………

- Do the offered items conform to the

international standards and codes of

practice mentioned in paragraph 2? 	:……………………………………………

- Analog  Inputs of the relay:

  - Rated current	: ……………………………………………

  - Rated voltage	: ……………………………………………

- Auxiliary supply voltage	: ……………………………………………

- Auxiliary supply voltage tolerance	: ……………………………………………

- Are the relays protected by

electromagnetic interference? 	: ……………………………………………

- Temperature tolerance range 	:. .……………………………………………

- Do the relays ensure clearance of all types

of phase or ground faults in the protected

zone and direction by providing selective

three phase tripping ? 	: .……………………………………………

- Criteria used for fault detection	: ……………………………………………

..……………………………………………

- Type of measurement characteristic (§ 4)	: ……………………………………………

- Are the zones selectable?	: ……………………………………………

- Number and description of the zones	: ……………………………………………

Reach of the zones?	: ……………………………………………

- Operating (response) time of the relay	: ……………………………………………

- How many groups of settings can be

stored in the relay ? 	: ……………………………………………

Are they selectable ? 	: ……………………………………………

- Is the Switch-on-to fault (SOTF)

function available ?	: ……………………………………………

- Are the relays equipped with back-up

overcurrent - time protection function ? 	: ……………………………………………

- For the teleprotection function, indicate

modes of operation. Is an echo function

available for weak-infeed conditions?	……………………………………………

..……………………………………………

…………………………………………….

…………………………………………….

- Are the offered relays equipped with

autoreclosure feature?	: ……………………………………………

- Is the offered relay equipped with 
synchrocheck?	: ……………………………………………

- Is the offered relay equipped with 
fault locator?	: ……………………………………………

- - Is the offered relay equipped with 
disturbance recording?	: ……………………………………………

- Can the fault data be read remotely via

modem?	: ……………………………………………

- Haw many faults can be stored in the 
memory of the disturbance recorder and 
what is the time length of fault?	: ……………………………………………

..……………………………………………

- Is the offered relay equipped with real-time
measurement feature (V, I, P, Q) ?	: ……………………………………………

- Is the offered relay equipped with directional
earth fault protection function (DEF) ?	: ……………………………………………

- Is the offered relay equipped with 
self monitoring (checking) feature?	: ……………………………………………

- Describe how the breaker failure protection
 feature operates 	: ……………………………………………

..……………………………………………
..……………………………………………
...……………………………………………

- Degree of protection of the relay case	: ……………………………………………

- Is the offered relay of the modular design
type?	: ……………………………………………

- Is the offered relay suitable for panel flush
mounting?	: ……………………………………………

- Is the relay equipped with screw type
 terminals suitable for 2.5 mm2 conductors	: ……………………………………………

- Is automatic short-circuiting of the current
contacts available in the case where the 
current input unit is of the draw out type?	: ……………………………………………

- Heavy duty Output Contacts

  - Number of heavy duty contacts	: ……………………………………………

  - Continuous current	: ……………………………………………

  - Short-time current (0.5 sec)	: ……………………………………………

  - Switching making capability	: ……………………………………………

  - Switching breaking capability	: ……………………………………………

- Signaling contacts

  - Are they configurable?	: ……………………………………………

  - Number of signaling contacts	: ……………………………………………

  - Rated voltage	: ……………………………………………

  - Continuous current	: ……………………………………………

  - Switching making capability	: ……………………………………………

  - Switching breaking capability	: …………………………………………

- Digital Inputs:

  - Rated voltage	: ……………………………………………

  - Number of inputs	: ……………………………………………

- Number and type of communication ports?	: ……………………………………………

- Can the relay be set by PC?	: ……………………………………………

- Can the software be used for parameter 
settings, analysis of fault data and record 
and commissioning?	: ……………………………………………

- What is the communication protocol used
for the connection of the relay to the digital
 computerized substation control system?	: ……………………………………………

- Is the offered relay equipped with internal	
synchronization clock?	: ……………………………………………

..……………………………………………

- Can the offered relay be synchronized via 
a master clock belonging to the substation
automation control system?	: ……………………………………………

- Is the required number of cables

for the communication of the relay

with PC provided?	: ……………………………………………

- Is the relay equipped with an integral
keyboard and display for parameter setting?: ……………………………………………

- Is software provided according to the

requirements of paragraph 7?	: ……………………………………………

..……………………………………………

- Type of the software?	: ……………………………………………

- Is guarantee of good operation for a period

of at least five (5) years provided ? 	: ……………………………………………

- Are the additional requirements of paragraph 9

taken into account in the offer ? 	: ……………………………………………

- -Are the offered devices certified

by conformance test performed in

accordance with IEC 61850-10? 	: ………………………………………….…

-Are certificates provided? 	: .……………………………………………

- Does the relay support PRP?	: …………………………………………….