INDEPENDENT POWER TRANSMISSION OPERATOR S.A.

TNPRD/ SUBSTATION SPECIFICATION & EQUIPMENT SECTION

August 2009

###### TECHNICAL DESCRIPTION  TD-28/5

SINGLE-POLE OUTDOOR TYPE SEALING ENDS SUITABLE

FOR XLPE, 87/150 (170) KV, SINGLE CORE CABLES

ATTACHMENT ‘Α’

Information by the Bidders. Failure to fill or partial filling of this attachment shall constitute sufficient reason for rejection of the offer.

| 1. Type of sealing end | : .................................. ..................................... |
| --- | --- |
| 2. Temperature range | : .................................. |
| 3. Type of material of the insulating housing of the sealing end | : .................................. |
| 4. Shape and type of sealing end terminal | : .................................. |
| 5. Brief description of the earthing of the sealing end | : .................................. …….……………….. ……………………... |
| 6. Support (pedestral) insulator data: |  |
| - Mechanical strength of the supporting insulators in compression | : .................................. |
| - Cantilever load withstand | : .................................. |
| - Number of support insulators | : .................................. |
| d. Mechanical withstand force due to short circuit | : .................................. |
| e. Type of material of the support insulators | : .................................. |
| 7. Nominal voltage of the sealing end | : .................................. |
| 8. Maximum Operating Voltage | : .................................. |
| 9. Lightning impulse voltage withstand of the sealing end | : .................................. |
| 10. Power frequency voltage withstand of the sealing end, 50 Hz, for (1) min under dry and wet conditions. | : .................................. |
| 11. Creepage distance of the porcelain or silicon rubber housing | : .................................. |
| 12. Short circuit current withstand for one (1) sec. | : .................................. |
| 13. Continuous current withstand | : .................................. |
| 14. Weight of the porcelain housing (if applicable) | : .................................. |
| 15. Weight of the silicon rubber housing (if applicable) | : .................................. |
| 16. Total weight of the sealing end | : .................................. |
| 17. Total length of the sealing end | : .................................. |
| 18. Shape and type of material of the selling end’s terminals | : .................................. .................................. |
| 19. Type of oil used for the filling of the sealing end | : .................................. .................................. |
| 20. Electrical withstand strength of the porcelain housing for 5 minutes | : .................................. |
| 21.Is the silicon rubber sealing end΄s housing designed to be operated under internal pressure? | : .................................. |
| 22. If the answer is ΄΄Yes΄΄ to the question No.21, indicate internal pressure | : .................................. |
| 23. Life duration (expiration date) of the sealing end΄s parts | : .................................. |
| 24. List all sealing end’s parts | : .................................. .................................. .................................. .................................. .................................. .................................. .................................. ................................. ................................... |

ΙΙδ/pmAG/June 2005

ΙΙδ/pmAG/August 2005

ΙΙδ/pmAG/September 2005

Iiδ/pm/AG/May 2006