INDEPENDENT POWER TRANSMISSION OPERATOR S.A.

NTPD/ SPECIFICATIONS & EQUIPMENT SECTOR S/S – EHV S/S

MARCH 2009

### Technical Description 31/B

ATTACHMENT “A”

1.	Type of the offered relay			:	…………………………………..

2.	Does the offered relays conform

to the international standards

and codes stated in §2 ?              		:	…………………………………..

3.	Temperature and humidity

conditions for which the relay is

designed to operate				:	…………………………………..

4.	Has the relay two (2) stages of

negative sequence (I2>, I2>>)		:	…………………………………..

5.	Required setting ranges of the relay

- Definite time overcurrent protection

1. phase (I>) 				:(………to…….)× IN, in steps of …..A

2. earth (IE>) 				:(………to…….)× IN, in steps of …..A

3. phase (I>>) 				:(………to…….)× IN, in steps of …..A

4. earth (IE>>) 				:(………to…….)× IN, in steps of …..A

Time delay 				:(………to…….) sec, in steps of …..sec

- Inverse time overcurrent protection

1. phase (Ιp)				: (….. to…..) x IN, in steps of ………A

2. earth (ΙpΕ)				: ( …..to.….) x IN, in steps of ………A

Time multiplier				: ………..to…………

6.	Are there LEDs for indications,

on the relay front panel? 			:	…………………………………..

- Are the LEDs programmable?		:	…………………………………..

7.	Number of digital inputs			:	…………………………………..

8.	Number of digital outputs			:	…………………………………..

- Are they programmable?			:	…………………………………..

9.	Can the relay settings be

changed remotely or locally

by front panel interface? 			:	…………………………………..

10.	How many indications and of

which information, can be recorded?	 :	…………………………………..

11.	Degree of protection for relays housing  	  :  …………………………………..

12.	Is the construction modular with

plug-in units? 				:	…………………………………..

13.	Are accessories such as, cables,

plugs, adaptors etc, included

in the offer? 					:	…………………………………..

14.	Is the input unit of draw out type? 	:	…………………………………..

-Is automatic short-circuit of

the current contacts, foreseen? 		:	…………………………………..

15.	Output contacts

- Continuous current carrying capacity 	:	………………………….…….…..

- Making capacity                                 	:	……………………………..……..

- Breaking capacity                              		:	……………………………..……..

16.	Is the relay equipped with keyboard

and display, for user interfacing? 		:      ….……………………………..……..

17.	Is the relay capable of communicating

via Ethernet port via IEC-61850 protocol?    :   …...……………………..…………..

-Are certificates according to

IEC-61850-10, provided?			:	……….…………………..………..

18.	Is the relay equipped with serial

port for connection with PC? 		:	……………………………..……..

19.	Can the relay be configured by an integrated

keyboard-display and also by PC? 	:	……………………………..……..

20.	Are the necessary cables for communication

of the relay with PC, provided? 		:	………………………….…………..

21.	Is the software provided royalty

free and user friendly? 			:	…………………………….………..

22.	Is the software covering issues of

settings, setting transmission, fault

reporting, communication with PC

and remote center? 				:	…………………………………..

23.	Is the offered hardware/software used

in commercial scale and part of the

manufacturer’s standard production?      :	…………………………………..

24.	Is guarantee of good operation for a

period of at least five (5) years provided?  :	…………………………………..

25.	Power consumption of the relay		:	…………………………………..

26.	Dimensions of the relay			:	…………………………………..