INDEPENDENT POWER TRANSMISSION OPERATOR S.A.

NTPD/ SPECIFICATIONS & EQUIPMENT SECTOR S/S – EHV S/S

March 2015

TECHNICAL DESCRIPTION ΤD–42/4

BACKUP POWER GENERATION UNIT
88kW/110kVA or 35kW/44kVA, 230/400V, 50Hz

ANNEX «Α»

All bidders must complete the following information:

- Manufacturer and GU type        			……..........................................

- Ambient temperature limits
 for GU startup and operation			…………………..………...°C

- Ambient humidity limits
 for GU startup and operation			……….…………………….%

- Maximum GU installation altitude		……….…………………….m

- ESP – emergency stand-by power		………..................................kW
 							……….…………………….kVA

- PRP – prime power				………..................................kW
 							……….…………………….kVA

- Nominal GU power factor 			……....………………………...

- Temperature, humidity and pressure conditions
under nominal power levels				  .......................................

- Power variation in relation to pressure.		 	 .......................................

- Power variation in relation to temperature	   	 .....................................

- Power variation in relation to relative humidity		....................................

- GU performance class:				       ……………………………..

- Manufacturer and engine type.			   ……..........................................

- Nominal operating speed				……….……………………rpm

- Number and layout of cylinders			………........................................

- Engine cooling method				………........................................

- Engine turbo-charger included?			…………………………………

- Speed regulator method 
(mechanical, electronic)				……...........................................

- Fuel consumption at load:
 		100% ESP				………....................................l/h
		75%   ESP				………....................................l/h
		50%   ESP				………....................................l/h
		25%   ESP				………....................................l/h

- Oil consumption at full power (ESP)		……….................................ml/h

- Capacity of built-in  
diesel tank						     ..............................................l

- Diesel tank dimensions (length–width–height)	    ................................................

- GU autonomy at full power (ESP) using
built-in diesel tank				     …………………………….h

- Speed droop:		             		    …………………………….%

- Speed deviation in steady state:			    …………………………….%

- Mean effective engine pressure, pme

at full power (ESP)				…………………………….bar

- Battery type (i.e. VRLA)			  	………………………………

- Battery capacity				  	 ..........................................Αh

- Is a grid-connected battery charger 
provided?						 ………………………………

- Startup reliability.					……….…….........................%

- Starter power.					………............................... kW

- Manufacturer and type of generation unit.	……..........................................

- MCR – maximum continuous rating, 150K/40°C………..................................kW
 							……….…………………….kVA

- NCR –  normal continuous rating			………..................................kW
 							……….…………………….kVA

- Nominal power factor of the generating unit

at full load (ESP)					   ……....………………………...

- Nominal efficiency of the generation unit	   ................................................%

- Voltage deviation in steady state:			    …………………………….%

- Generator insulation class: 			……………………………....

- Nominal temperature rise

of generation unit windings			……………………………...

- Maximum negative sequence current

I2 during operation:				…………………………….%

- Voltage asymmetry under no-load operation	…………………………….%

- Harmonic voltage distortion
under no-load operation (THD):			…………………………….%

- Generator excitation type 
(parallel, excitation winding, PMG)		...................................................

- Manufacturer and type of voltage regulator	...................................................
 							...................................................

- Subtransient direct axis reactance

of the generation unit (xd”)			.............................................%

- Protection rating of generation unit (IP)		................................................

- Class of GU radio interference as per

CISPR 11 (EN 55011)				..................................................

- Required time for automatic startup and
ramp-up to full load, after the
loss of the grid voltage:			 	 …………………………….s

- Is an automatic changeover system
provided?						 ………………………………

- Type and features of automatic changeover

switching devices 					………………………………
 							………………………………

- Type and features of generation unit

automatic protection breaker			………………………………
 							………………………………

- Manufacturer and type of protection 
and control unit					................................................
 							................................................

- Are local signals and measurements 
available, as per paragraph XI?			................................................

- Are remote signals available, 
as per paragraph XI?				................................................

- Protection rating of control panel (IP)		................................................

- GU noise level at 1m distance
indoors, as per ISO 8528-10 (LWA)		..........................................dB(A)

- GU weight.					...............................................kg

- GU dimensions (length-width-height)		..................................................

- Is GU packaging in compliance with
paragraph XVIII?					..................................................