INDEPENDENT POWER TRANSMISSION OPERATOR S.A.

NTPD/ SPECIFICATIONS & EQUIPMENT SECTOR S/S – EHV S/S

November 2003

## TECHNICAL DESCRIPTION TD-49

“ATTACHMENT A”

OVERCURRENT RELAYS TO BE USED FOR AUTOTRANSFORMER MASS PROTECTION

| - Type and manufacturer of the relay | : .................................. ..................................... |
| --- | --- |
| - Is the relay overcurrent of definite time? - Temperature operating limits of the relay | : .................................. : .................................. |
| - Setting range A. stage 1, I Ε > In steps of Delay time | : .................................. : .................................. : .................................. |
| B. stage 2, I Ε >> In steps of Delay time | : .................................. : .................................. : .................................. |
| - Rated Input | : .................................. |
| - Rated auxiliary supply voltage | : .................................. |
| - Number of output contacts for tripping | : .................................. |
| - Continuous current rating of the output tripping contacts | : .................................. |
| - Current rating of the output tripping contacts for 0,5 second | : .................................. |
| - Switching breaking capacity of the output tripping contacts at 220V D.C. | : .................................. |
| - Number of output contacts for alarm | : .................................. |
| - Continuous current rating of the output contacts for alarm | : .................................. |
| - Switching breaking capacity of the output contacts for alarm at 220V D.C. | : .................................. |
| - Rated frequency | : .................................. |
| - Power consumption of the relay in VA | : .................................. |
| - Is the offered relay of reduced sensitivity for frequencies other than the fundamental so as to prevent undesired operations? | : .................................. |
| - Is the relay suitable for surface panel mounting? | : .................................. |
| - Are the relay terminals suitable to be wired with 2,5mm2 size conductors? | : .................................. |
| - Weight of the relay | : .................................. |
| - Dimensions of the relay | : .................................. |
| - Is the relay single phase or three-phase (phase + earth)? | : .................................. |

ys/AG/ November 2002