INDEPENDENT POWER TRANSMISSION OPERATOR S.A.

NTPD/ SPECIFICATIONS & EQUIPMENT SECTOR S/S – EHV S/S

April 2007

TECHNICAL DESCRIPTION TD-60/1

52 KV OUTDOOR,  CENTRE BREAK, 3-POLE, AC DISCONNECTOR,

WITH  MANUAL OPERATING MECHANISM

(DESIGNATED BY IPTO S.A No 305)

ATTACHMENT “A”

52 KV OUTDOOR, 3-POLE, CENTRE BREAK, AC DISCONNECTOR WITH  MANUAL OPERATING MECHANISM

All bidders must provide the following data. Failure to comply in full, shall constitute sufficient reason for rejection of the offer.

1. Type 				            :…………………………………….……

.………………………………………….

2. Manufacturer			            :………………………………………….

….……………………………………….

3. Ambient temperature range during

operation                                                     :..………………………….….………….

4. Is the disconnector equipped with manual

operating mechanism?                                :..………………………………………...

5. Disconnector’s blade’s (arms) angle of

rotation                                                        :.….……………………………………...

6. Type of material of the disconnector’s

blades (arms)                                              :…………………………………………..

7. Type of material of the blade’s (arm’s)

male contact 	                                    :…………………………………………..

8. Type of material of the blade’s (arm’s)

female contact			 	:…………………………………………..

9. Are the blades (arms) contacts self-

cleaning and self-aligned ?		:…………………………………………..

10. Are the blade’s (arm’s) female

contact of the finger type?			:…………………………………………..

11. Are the blades (arms) contacts of such

design, that short- circuit currents,

increase their contact pressure?		 :…………………………………………..

12. Is the blade’s female contact

equipped with stainless-steel springs

so that contact pressure is ensured?	:……………………………………………

13. Type of material of bolts, nuts

and washers of the live parts

of the disconnector		  	 :……………………………………..……

14. Type of material of the base frame

of the diconnector			:……………………………………………

15. Is the base frame of the disconnector

hot-dip galvanized ?			:……………………………………………

16. Indicate height and overall dimensions

of the disconnector’s base frame		:……………………………………………

…………………………………………….

17. Operation method of the disconnector	:……………………………………………

…………………………………………….

…………………………………………….

18. Indicate pole arrangement of the

disconnector				:……………………………………………

…………………………………………….

19. Indicate method of mounting of the

disconnector on its base frame		:……………………………………………

…………………………………………….

…………………………………………….

…………………………………………….

20. Describe how the disconnector is

earthed					:……………………………………………

…………………………………………….

…………………………………………….

……………………………………………..

21. Does the transmission motion system

of the disconnector, meet the require-

ment of paragraph VII-16 of this

technical description?			:……………………………………………

…………………………………………….

…………………………………………….

…………………………………………….

22. Disconnector’s operating mechanism characteristics

a. Is the operating mechanism

of the disconnector manual and

operable by hand-handle?		:……………………………………………

b. Number of operating mecha-

nisms for the three-phase

disconnector			:……………………………………………

c. Is the manual operating mechanisms

of the reversible motion type?	:……………………………………………

d. Are the parts of the hand-handle,

which come in contact with

the human hands, covered with

insulating material? 		:……………………………………………

e. Is the manual operating mecha-

nism equipped with a removable

or a fixed handle?			:……………………………………………

f. If the manual operating mechanism

is equipped with a fixed handle, is

this handle secured in the open and

closed position with a padlock? 	 :………………………………….……….

g. If the manual operating mechanism

is equipped with a removable

handle, then is the opening in

which the handle is inserted,

secured with a padlock ?		  :…………………………………………...

h. Is the operating mechanism

equipped with an interlocking coil

& with coil voltage of 220V DC?	  :……….………………………………...

i. Can manual operation be prevented by

mechanical means when the interlocking

coil is in the deenergized state?         :……………………………………………

……………………………………………

j. Number and type of auxiliary

contacts	 			  :……………………………………………

…………………………………………….

…………………………………………….

…………………………………………….

k. Size of control cables used in the

wiring of the operating mechanism  :……………………………………………

l. Material of the housing of the

operating mechanism and degree

of protection			 	  :…………………………………………….

……………………………………………..

m. Is the operating mechanism

equipped with a spare terminal

block?				  :…………………………………………….

n. Is the operating mechanism

housing equipped with anti-

condensation heaters, controlled

by a thermostat?			  :…………………………………………….

o. Is the housing of the operating

mechanism suitable for bottom

entrance of cables?			  :…………………………………………….

p. Are all necessary bolts, nuts,

washers and brackets provided

for the mounting of the housing

of the operating mechanism?	   :………………………………………….

q. Is the manual operation carried

out via rotary motion and

metallic reduction gear?	  	  :………………………………………..

r. Are the circuits protected by

miniature breakers or fuses?	  :………………………………………….

s. Supply voltage of the anti

condensation heaters		  :………………………………………….

t. Auxiliary voltage of the circuits

of the operating mechanism	  :………………………………………….

23. Is the disconnector a three-pole with

two insulators per pole disconnector?	   :………………………………………….

24. Type of material and dimensions

of the disconnector terminals	              :…………………………………………….

……………………………………………..

25. Disconnector’s characteristics

a. Numbers of poles			   :……………………………………………

b. Installation				   :……………………………………………

…………………………………………….

…………………………………………….

c. Rated voltage			   :……………………………………………

d. Power frequency withstand voltages

• Phase to earth and between phases :…………………………………………...

• Across the isolating distance 	    :………………………………...…………

e. Lightning impulse withstand voltages

• Phase to earth and between phases :…………………………………………...

• Across the isolating distance 	    :…………………………………...………

f. Rated frequency			    :……………………………………...……

g. Rated normal current		    :……………………………………….….

h. Rated short-time withstand current	    :…………………………………………..

i. Rated peak withstand current	    :…………………………………………..

j. Rated duration of short circuit 	    :…………………………………………..

k. Rated static mechanical terminal load

• Straight load                                  :…………………………………………....

• Cross load                                      :……………………………………………

• Vertical force                                 :……………………………………………

l. Thickness of ice coating for which

operation is possible		   :……………………………………………

m. Mechanical endurance class	   :……………………………………………

26. Insulators characteristics

a. Are the insulators of the outdoor,

solid core, cylindrical post insu-

lator type, with external fittings?	 :…………………………………….……….

b. Type of material of the cylindrical

solid core post insulators?		 :……………………………………………..

c. Color of the porcelain?	             :……...……………………………………...

d. IEC-60273 designation of the

insulators				 :……………………………………………..

e. Power frequency withstand

voltage, wet				 :……………………………………………..

f. Lightning impulse withstand

voltage				 :……………………………………………..

g. Height of the post insulator		 :……………………………………………..

h. Minimum creepage distance	 :……………………………………………..

i. Failing load

- Bending			 :……………………………………………..

- Torsion			 :…………………………………………….

- Tension			 :…………………………………………….

- Compression 			 :…………………………………………….

j. Bottom metal fitting pitch

circle diameter 			 :……………………………………………..

k. Maximum normal diameter of

the insulating part			 :……………………………………………..

l. Top metal fitting pitch circle

diameter				 :……………………………………………..

27.  Total weight of the disconnector with

its frame base per pole and also per

three poles				 :…………………………………………......

…………………………………………...…

28.   Minimum clearances in air

a. Between poles			:……………………………………………...

b. To earth				:……………………………………………...

c.  For isolating distance  		:……………………………………………...

29. Do the two insulators per pole (phase) of

the disconnector rotate on a weather-proof

ball shape greaseless bearing, or on auto-

lubricated bush? 			  :…………………………………………….

…………………………………………….

…………………………………………….

- Can the disconnector be installed on

the steel support structure as

indicated in drawing No. 305/2?	 :…………………………………………….

……………………………………………...

……………………………………………...

……………………………………………...

31. Anticondensation heater data

a. Rated voltage		 	 :…………………………………………….

b. Power consumption 		 :…………………………………………….

32. Interlocking coil data

a. Rated voltage			 :…………………………………………….

b. Power consumption 		 :…………………………………………….

33. Rated current of the auxiliary

contacts 					 :……………………………………………

…………………………………………….

…………………………………………….

34. Distance between poles (phases)

of the disconnector			 :……………………………………………..

35. Distance between insulators of

the same pole of the disconnector	 :……………………………………………..

36. Is a steel support structure for the

operating mechanism of the discon-

nector provided?				 :……………………………………………..

37. Is the operating mechanism’s

support structure made form stainless

steel or hot-dip galvanized steel?	 :……………………………………………..

38. Are the anchoring bolts of the above

steel support structure part of

the supply? 				 :……………………………………………..

39. Are all terminal blocks suitable

for 8mm2 size conductors?                    :……………………………………………..

40. Indicate tolerances in relation

to paragraph VII-19 of this

hereby technical description

and confirm that proper contact

can be achieved under these conditions :……………………………………………

…………………………………………….

…………………………………………….

…………………………………………….