INDEPENDENT POWER TRANSMISSION OPERATOR S.A.

TNPRD/ SUBSTATION SPECIFICATION & EQUIPMENT SECTION

SEPTEMBER 2015

TECHNICAL DESCRIPTION TD- 81/3

400KV OUTDOOR SOLID-CORE CYLINDRICAL POST INSULATORS WITH EXTERNAL METAL FITTINGS.

ATTACHMENT "Α"

All bidders must provide the following data. Failure to comply in full, shall constitute sufficient reason for rejection of the offer.

1. Type				           		 :.................................................

..................................................

2. Manufacturer 			          		 :.................................................

..................................................

3. Ambient temperature range during operation          :..................................................

4. Material of the outer housing of the insulators	 :..................................................

5. Material on the inner part of the insulators		 :..................................................

:..................................................

6. Color of the porcelain    				 :..................................................

7. Designation of the insulators as per IEC-60273    :..................................................

8. Switching impulse withstand voltage wet		 :..................................................

9. Lightning impulse voltage withstand		 :..................................................

10. Height of the insulators				 :..................................................

11. Creepage distance of the outer housing      	:..................................................

12. Failing load 					:...................................................

a. Bending                                                             :...................................................

b. torsion                                                               :...................................................

c. tension						:..................................................

d. compression					:..................................................

13. Maximum nominal diameter

of the insulating part 	 			:...................................................

14. Bottom metal fitting pitch circle diameter	:...................................................

15. Top metal fitting pitch circle diameter		:...................................................

....................................................

16. Type of material of all metal fittings		:...................................................

17. Number of units of which the insulators consist	:...................................................

....................................................

18. Number of bolts and thread for the top

metal fitting					:...................................................

19. Number of bolts and holes for the

bottom metal fitting      				 :...................................................

20. Nominal maximum diameter of top

mounting face 		  	 	               :....................................................

21. Nominal maximum diameter

of bottom mounting face                                         :....................................................

22. Are all connecting parts such as bolts,

nuts and washers part of the supply?		  :....................................................

23. Are all connecting parts such as bolts,

nuts and washers of hot-dip galvanized steel?      :....................................................

24. Weight of each insulator			             :....................................................