INDEPENDENT POWER TRANSMISSION OPERATOR S.A.

TNPRD/ SUBSTATION SPECIFICATION & EQUIPMENT SECTION

June 2013

TECHNICAL DESCRIPTION TD- 86/2

110 V NICKEL-CADMIUM RECHARGEABLE BATTERY FOR 150/20 KV SUBSTATIONS, HAVING THE 20 KV PRIMARY EQUIPMENT INSTALLED INSIDE THE CONTROL BUILDING (20 KV METAL CLAD PANELS) AND FOR 400/150 KV OUTDOOR EHV SUBSTATIONS

ATTACHMENT "Α"

110 V NICKEL-CADMIUM RECHARGEABLE BATTERIES

All bidders must provide the following data. Failure to comply in full, shall constitute sufficient reason for rejection of the offer.

1. Type of cells (short description)       		:............................................................

.............................................................

............................................................

2. Cell designation					:………………………………………

3. Number of cells per 110V battery			:………………………………………

4. Manufacturer 			          		:............................................................

5. Does each cell have a separate

container (not monobloc)?				 :………………………………………

6. Type of electrolyte (short description)                   :............................................................

7. Type of container					:............................................................

8. Nominal single cell voltage			:.............................................................

9. Charging Method					:............................................................

10. Rated Capacity of the battery (C5)		:.........................................................Ah

11. Operating lifetime of the battery at 20°C±5°C	:............................................................

12. Constant current for 8h discharge

down to 1.14V per cell, after prolonged

float charging of fully charged cells,

at 20°C±5°C					:.........................................................A

13. Internal Resistance of the cell (in fully charged condition) :…………..................m Ohm

14. Short Circuit Current of the cell and

of the battery 					 :.......................................................A

15. Plate  cell thickness				:…………………………..……….mm

16. Plate cell Area					:…………………………………..mm2

17. Cell Weight					:.......................................................kg

18. Weight of the whole battery unit

complete with electrolyte

(without mounting assembly) 			:.......................................................kg

19. Weight of the whole battery unit

without electrolyte				:...............................................kg

20. Thickness of containers				:......................................................mm

21. Material of covers (short description)		:.............................................................

22. Thickness of covers				:.......................................................mm

23. Total weight of mounting assembly (rack)	:........................................................kg

24. Required voltages per cell at 20oC

a) fast charging voltage				:.........................................................V

b) float charging voltage				:.........................................................V

25. Required charging time assuming

totally discharge battery

a) with floating method           			:..........................................................h

b) with fast (boost) method			:..........................................................h

26. Battery rack (short description)			:............................................................

……………………………………….

……………………………………….

……………………………………….

27. Is the battery rack part of the supply ?		:...........................................................

28. Type of the material and coating

of the battery rack					:………………………………...

29. Type of the material of the cell insulators	:............................................................

30. Are the cell going to be delivered empty,

with the electrolyte in dry form?			:............................................................

31. Indicate the portion of water needed

and the portion of the electrolyte for the solution	:............................................................

32. Are the cells marked in accordance

with the requirements of paragraph VII?		:............................................................

33. Is the battery supplied with all necessary

mounting (cell) insulators, and cell

connectors, nickel plated copper lugs, trays etc ?	:............................................................

34. Range of ambient temperature

during operation					:……………………………………….