[image: image1.jpg]AAMHE



                                           Tender notice DAPM-41504 / Document 1 “INVITATION TO TENDERS”


IPTO S.A.
TENDER NOTICE DAPM - 41504 
PROJECT:
 “SUPPLY, INSTALLATION AND COMMISSIONING OF AUTOMATED SYSTEM FOR REMOTE COLLECTION AND ANALYSIS OF DATA FROM THE DIGITAL PROTECTION RELAYS AT THE TRANSMISSION NETWORK INTERCONNECTIONS WITH ADJACENT COUNTRIES”
TABLE OF CONTENTS
TENDER DOCUMENT
1
INVITATION TO TENDERS
TENDER DOCUMENT
2
TENDER PROCEDURE TERMS & GUIDELINES
TENDER DOCUMENT
3
DRAFT OF CONTRACT AGREEMENT
TENDER DOCUMENT
4
SPECIAL TERMS
TENDER DOCUMENT
5
TABLES
TENDER DOCUMENT
6
GENERAL TERMS
TENDER DOCUMENT
7
INSURANCES
TENDER DOCUMENT
8
TEMPLATES
TENDER DOCUMENT
9
TECHNICAL SPECIFICATIONS
TENDER NOTICE DAPM - 41504 
PROJECT:
“SUPPLY, INSTALLATION AND COMMISSIONING OF AUTOMATED SYSTEM FOR REMOTE COLLECTION AND ANALYSIS OF DATA FROM THE DIGITAL PROTECTION RELAYS AT THE TRANSMISSION NETWORK INTERCONNECTIONS WITH ADJACENT COUNTRIES”
TENDER DOCUMENT No 1
INVITATION TO TENDERS
Article 1: Name – Company Directorate in charge of the Tender - Time and Place of Conduct
Article 2 :
Description and Fundamental Characteristics of the Project
Article 3 :
Tender Participation Requirements
Article 4:
Tender procedure – Award Criterion
Article 5:
Alternative Tenders - Differences
Article 6:
Type of Joint Venture
Article 7 :
Tender information receipt
TENDER NOTICE DAPM - 41504 
FOR THE PROJECT:
“Supply, installation and commissioning of automated system for remote collection and analysis of data from the digital protection relays at the transmission network interconnections with adjacent countries”

INVITATION TO TENDERS
The Société Anonyme “Independent Power Transmission Operator”, under the distinctive title IPTO S.A. or IPTO or ADMIE, having its registered office at 89, Dyrrachiou & Kifissou Str., Athens, invites, in accordance with the provisions of its Procurement Regulations (PR), all the interested parties to an Open Tender, to be awarded to the lowest bid price, for choosing a Contractor for the project: “Supply, installation and commissioning of automated system for remote collection and analysis of data from the digital protection relays at the transmission network interconnections with adjacent countries”, of a total budget, according to the Company’s study, amounting to ninety thousand euros (€ 90,000.00), plus VAT.
Article 1
Name – Company Directorate in charge of the Tender - Time and Place of Conduct
1. The services competent for the Tender Procedure are:
The Transmission System Operation & Control Department (under the distinctive title DLES) and the Systems & Infrastructure Department (under the distinctive title DSY) are competent for all matters of a technical nature (Mr M. Karystianos, tel.: 210-6294293), and the Purchasing and Logistics Department (DAPM) for financial, commercial and procedural matters (Mr P. Karaiskos and Ms P. Nika, tel: 210-5192639 and 210-5192329, fax : 210-5192648).
2. Bids shall be received and unsealed in Room 107, 1st floor, at 89 Dyrrachiou and Kifissou Streets, Athens, on Tuesday, January 12th, 2016 at 12:00, before a Committee to be established by the Company.
Tenders may also be submitted by mail (recorded delivery or courier) to the Registry Office / Transports, Purchasing and Logistics Division, at 89 Dyrrachiou St. & Kifissou Ave. Athens GR-10443, at the tenderer’s responsibility, in relation to the content and time of arrival. These tenders shall be considered provided they are delivered in a sealed envelope to the Protocol department of the above mentioned Division (office 410, 4th floor) no later the date of submission of tenders, i.e Tuesday, 12 January 2016, at 12:00 pm.
3. The package containing the tender must indicate the name and address of the Economic Entity submitting the tender as well as:
“Bid for Tender DAPM - 41504”
SUPPLY, INSTALLATION AND COMMISSIONING OF AUTOMATED
SYSTEM FOR REMOTE COLLECTION AND ANALYSIS OF DATA FROM THE DIGITAL PROTECTION RELAYS AT THE TRANSMISSION NETWORK INTERCONNECTIONS WITH ADJACENT COUNTRIES”
Article 2
Description and Fundamental Characteristics of the Project
1. The scope of this notice is the supply, installation and commissioning of automated system for remote collection and analysis of data, events and faults from the digital protection relays at the transmission network interconnections with adjacent countries. Specifically, data collection refers to the digital protection relays that are installed at interconnections with adjacent countries (Italy, Albania, FYROM, Bulgaria, Turkey) and selected High Voltage Substation Centers (HVC) bays (Table of Materials and Services of the Technical Specifications in Document 9).
The data will be collected locally at the HVCs on interface devices and transmitted to specific workstations of ADMIE. The data will be processed there using a special software application; they will be automatically assessed, and conclusions will be drawn.
2. In summary, the project scope includes, indicatively:
· Design and supply of integrated software for the collection, classification, analysis and assessment of data, signals, disturbances, faults and records of the digital protection relays of interconnections and associated lines.
· Supply and installation of five sets of telecommunication gateways.
· Full engineering and connection-installation for the transmission of field data/records inside the HVCs to the local gateways inside the HVCs, and on to the HVC communication point, i.e. the port of the company (internet) corporate telecommunication network. Subsequently, communication with the remote central PCs will be achieved through the existing company internet network.
· Graphic representation in the software of all involved HVCs, active involvement particularly of the protections of the bays envisaged and included in the project, mapping of signals and records, and development of all operating tools for collection, analysis and assessment of the digital protection relay records.
· Commissioning
· User licenses and workstations (PC) (2 sets) at the remote central point.
· ADMIE personnel training
-     Maintenance and technical support services for one (1) year from final acceptance of the project.
The volume of supply refers both to the latest generation digital distance protection relays and additionally to the particular protection systems, as described in the relevant articles (i.e. line differential relay, older generation digital relay and HVDC-control-incorporated-protection functions).
3.
The Project shall be implemented according to the technical specifications and requirements mentioned in Tender Document 9 of the Notice, “Technical Specifications”.
Article 3
Tender Participation Requirements
1.
All interested economic entities (natural persons, legal entities or associations thereof) may take part in the tender procedure, which:
1.1 Cover the following requirements
1.1.1 They have not been convicted by means of an irreversible judgment for any of the offenses of participation in criminal organisation, misappropriation, fraud, extortion, forgery, perjury, bribery and corruption, in accordance with Law 3560/2007, as in force, of fraudulent bankruptcy and money laundering according to the applicable laws each time;
1.1.2 They are not bankrupt or in the process of being wound up, do not have their affairs administered by the court, have not entered into an arrangement with creditors or in any such situation arising from a similar procedure under the applicable legislation each time.
1.1.3 They have not been convicted by a judgment which has the force of res judicata in accordance with the legal provisions of the country of any offense concerning their professional conduct, nor have they committed a serious professional misconduct which was proven.
1.1.4 They have discharged their obligations regarding the payment of social insurance contributions according to the legal provisions of the country where they are established or the legal provisions of the Greek law and are not guilty of serious false statements.
1.1.5 They have discharged their obligations regarding the payment of taxes and duties according to the legal provisions of the country where they are established or the legal provisions of the Greek Law.
In case of Joint Ventures of companies, each member must meet all the above conditions
.

1.2 They have the necessary financial – economic robustness, and specifically, the tenderer must:
· have an average turnover for the past three years exceeding the amount of € 80,000.00;
· present a positive sum of profit - loss before interest, taxes, depreciation and amortisation (EBITDA) for the past three years, according to its published balance sheets.
1.3 They cover the following criteria of technical and professional competence:
The Economic Entities must be experienced in designing and commissioning similar power transmission systems. In particular, they must have executed at least (2) similar projects related to power transmission systems.

In the case of Joint Venture of companies, its members may cumulatively meet the criteria of paragraphs 1.2 and 1.3

.

2. In order to check and confirm the required level of experience, tenderers must also include tables for similar projects, referred to in Article 6(3.2) ‘Content of Tender’ in Tender Document 2 ‘Tender Procedure Terms and Guidelines’ duly filled out, accompanied by the relevant certificates / letters of recommendations concerning flawless, proper performance of projects. These tables should be placed inside Tender Envelope B.
3. A company which is a member of an association cannot also be a member of another association nor participate on its own in the Tender Procedure, since that would lead to competition being undermined.
It is prohibited for two or more tenderers to be represented by the same representative.
4. If the Tenderers want to invoke the technical and/or professional capabilities of third parties (third party experience) in order to fulfill the participation requirements and criteria set forth in the above paragraph 1.3, they must submit evidence that proves the said Experience of the third party and state that they are bound to provide all the guarantees required by the Invitation to Tenders. More specifically, in that case, the Tenderer must prove, by any means available, that, throughout the Contract term, the Tenderer shall have at its disposal all the resources necessary for the Contract implementation.
This evidence may be a valid private agreement between the Tenderer and the third party cited, a binding Statement signed by the third party's legal representative, or the presentation of guarantees in another format, in order for the said commitment to be duly demonstrated in a manner satisfactory to ADMIE. That evidence must be placed inside Tender Envelope B. The scope of cooperation between the Contractor and the third party, as well as the guarantees provided by the third party to the Contractor shall be included in the Contract. The discontinuation of the cooperation of the Contractor with the third party providing its Experience during the term of the contract for any reason, constitutes grounds for ADMIE to terminate the contract.
Article 4
Tender procedure – Award Criterion
The Tender shall be conducted with an open procedure and the award criterion shall be lowest bid.
Article 5
Alternative Tenders - Differences
1. Alternative Bids
No alternative bids shall be accepted.
2. Commercial deviations
No deviations will be allowed from the Commercial and Economic Clauses of the Invitation to Tenders; the tenders must fully comply with the respective clauses and requirements of the Tender Notice. Therefore, every Candidate needs to include in the Solemn Declaration of acceptance of terms (see relevant Template) the statement that its Tender does not Deviate in whatever way from the Commercial and Financial Terms of the Invitation to Tenders. Any comments or clarifications provided that alter the specific terms or requirements set forth in this Proclamation shall be considered to be commercial deviations. A tender containing such manner of deviations will be rejected.
Manifest errors made by oversight or inadvertence of the Tenderer shall not be considered deviations from the Notice, provided that the correct data arise from the other information of its tender.
3. Technical Deviations:
3.1 Technical Deviations from the Technical Specifications of the Invitation to Tenders shall not be permitted.
Minor importance differences from the separate technical specifications of equipment elements may be exempted from the above and be technically acceptable, when they are due to technical and construction particularities of the tendered equipment and do not alter its operating characteristics, safety, availability, reliability, lifespan and required ease of maintenance of the equipment.
3.2 Moreover, the proposed technical specifications, which in the view of the Tenderer, cover the Invitation to Tenders technical requirements in an equivalent manner can be accepted in terms of safety, availability, reliability, lifespan, functionality, environmental terms, ease of maintenance for equipment, running costs, maintenance costs and optimum utilisation of the space available provided that the Tenderer can prove the above in its tender to ADMIE’s satisfaction that the solutions proposed satisfy the requirements laid down in the Invitation to Tenders technical requirements in an equivalent manner. Equivalent solutions need to have been successfully installed and operating in similar projects.
To this end, the tenderer needs to submit in Dossier B (as an indication and not limited to) a technical dossier of the manufacturer, and/or calculations, and/or a testing report from an accredited Organization, and/or data published in international technical literature, as well as a list of references. Moreover, in addition to the aforementioned documentation, the tenderer may also submit any other evidence that the same deems it can support the proposed equivalent solution.
If the Tenderer does not demonstrate to ADMIE in a satisfactory manner that its tender covers the Technical Specifications of the Invitation to Tenders in an equivalent manner, according to the aforementioned, its tender will be rejected.
Article 6 
Type of Joint Venture
In case the project is awarded to a Joint Venture, the latter may:
· either be converted to a Consortium under Presidential Decree 186/92, as in force, and submit the relevant Consortium Agreement;
· or undertake the Provision of Services as a Group of Companies, under the strict condition, that the Contract will show the distinct objective to be implemented and the price to be invoiced by each member separately.
In the case of a Joint Venture of undertakings, the contract shall be awarded in the name of all members of the Joint Venture and a provision shall be included in the Contract under which the members of the Joint Venture shall be held jointly and severally and indivisibly liable before ADMIE, shall be represented by a joint representative and the actual participation of all members in the Joint Venture during such time as the contract is in effect shall be checked by ADMIE.
Where that venture is a group of companies (an informal association of persons without any tax or legal status) the tender must be worded so as to ensure separate invoicing by the members of the grouping in accordance with Greek tax law and practice.
Otherwise, in case where the Joint Venture fails to meet the foregoing condition, the Joint Venture is required, before the signing of the Contract, to be endowed with a legal / tax form permitting common invoicing, and then a certified copy of the document evidencing that the foregoing requirement is met must further be submitted for the Contract to be entered into.
Article 7 
Tender information receipt
The tender documents cited in Article 1 of document 2 “Tender procedure terms and guidelines” are available free of charge on the Company’s website:
http://www.admie.gr/diakiryxeis/diakiryxi/article/2065/
Keynote (about language):

[Abstract of TENDER DOCUMENT 2:  TENDER PROCEDURE TERMS & GUIDELINES
…………………………………………..

…………………………………………..

Article 5

Data to be submitted with the bid
All documents submitted to the tender will be written in the Greek language. Special documents regarding the legalisation of foreign enterprises and all certificates will be in the language of the issuing country and will be supported by their official translation.

Exceptionally, the data sheets and other technical manuals and technical description of the bid may be in English language. ]
…………………………………………..

…………………………………………..

8 / 8

[image: image1.jpg]