In order to register with the HETS Operator Registry the representatives of the balancing service entities are obliged to declare to the HETS Operator the following characteristics, if applicable, depending on the type and the technology of the entity.

The characteristics of entities which can be operated with more than one configuration (such as Multi-Shaft Combined Circle Dispatchable Units) must be declared separately for each possible configuration of the generating unit. The characteristics that must be declared separately are preceded by the symbol “&” in the tables below.

| Registered Characteristics of the Balancing Service Entity |  |  |  |
| --- | --- | --- | --- |
| Description | Description/ Numerical value | Unit of measurement | To be completed by the applicant in accordance with the memorandum * |
| A.1 General information |  |  |  |
| Name of Balancing Service Entity |  | - | All entities |
| Geographical position of the Balancing Service Entity |  | - | - U - SB - RS - PUMP |
| Identifier of the Meter(s) which record(s) the output of the Balancing Service Entity |  | - |  |
| Node to which the Balancing Service Entity is electrically connected, or in the case of a Balancing Service Entity that is not connected to a node, the node that is electrically closer to the Balancing Service Entity. |  | - |  |
| Registered capacity (capacity of production license/connection contract) |  | MW |  |
| A.2 Operational data |  |  |  |
| Number of generators |  |  | - U - PUMP |
| & Maximum continuous output (gross) |  | MW | - U - SB - RS - CN - IR - PUMP |
| & Maximum continuous output (net), after taking into account the internal service and the auxiliary loads of the Unit |  | MW | - U - SB - RS - SP - CN |

| Registered Characteristics of the Balancing Service Entity |  |  |  |
| --- | --- | --- | --- |
| Description | Description/ Numerical value | Unit of measurement | To be completed by the applicant in accordance with the memorandum * |
|  |  |  | - IR - PUMP |
| & Maximum Net Capacity (NCAP): Maximum continuous generation capacity in ISO conditions (Net Capacity of the Unit after taking into account the internal service and the auxiliary loads of the unit) |  | MW | - U - SB - RS - SP - CN - IR - PUMP |
| Dispatchable Capacity for the upward direction |  | MW | All entities |
| Dispatchable Capacity for the downward direction |  | MW | All entities |
| & Auxiliary loads (reactive power), for production of active power from 0 to NCAP (in one or more steps) |  | MW (auxiliary) / MW gross production | - U - CN |
| & Auxiliary loads (reactive power), for production of active power from 0 to NCAP (in one or more steps) |  | MVAr (auxiliary) / MW gross production | - U - CN |
| & Overload capacity (gross) |  | MW | - U - CN |
| & Overload capacity (net) |  | MW | - U - CN |
| & Minimum continuous output (gross) |  | MW | - U - CN |
| & Technically Minimum Generation (net capacity after taking into account the internal service and the auxiliary loads) |  | MW | - U - CN |
| & Minimum up time |  | hours | All entities |
| & Minimum down time |  | hours | All entities |
| Maximum up time per activation |  | hours | - SB - RS - SP - CN |

| Registered Characteristics of the Balancing Service Entity |  |  |  |
| --- | --- | --- | --- |
| Description | Description/ Numerical value | Unit of measurement | To be completed by the applicant in accordance with the memorandum * |
|  |  |  | - IR - DR - PUMP |
| Maximum Daily Activations |  | - | - SB - RS - SP - CN - IR - DR - PUMP |
| Maximum State of Charge (SoC) |  | MWh | - SB - RS - SP |
| Minimum State of Charge (SoC) |  | MWh | - SB - RS - SP |
| Allow the activation of balancing energy in the ISP |  | YES/NO | - SB - RS - SP - CN - IR - DR |
| Maximum Injection Power of the storage |  | MW | - SB - RS - SP |
| Maximum Absorption Power of the storage |  | MW | - SB - RS - SP |
| Used energy capacity |  | ΜWh | - SB - RS - SP |
| Guaranteed (useful) Capacity of the storage |  | MWh | - SB - RS - SP |

| Registered Characteristics of the Balancing Service Entity |  |  |  |
| --- | --- | --- | --- |
| Description | Description/ Numerical value | Unit of measurement | To be completed by the applicant in accordance with the memorandum * |
| Maximum continuous reactive power capacity (at nominal voltage of the injection site) |  |  |  |
| & Capacitive (absorption) reactive power, for active power generation equal to the technically minimum generation, the maximum generation capacity, as well as five (5) intermediate active power levels | MW | Mvar | - U - SB - RS - SP - CN - IR - PUMP |
|  | 1. |  |  |
|  | 2. |  |  |
|  | 3. |  |  |
|  | 4. |  |  |
|  | 5. |  |  |
| & Inductive (injection) reactive power for active power generation equal to the technically minimum generation, the maximum generation capacity, as well as five (5) intermediate active power levels. | MW | Mvar | - U - SB - RS - SP - CN - IR |
|  | 1. |  |  |
|  | 2. |  |  |
|  | 3. |  |  |
|  | 4. |  |  |
|  | 5. |  |  |
| Terminal voltage adjustment range |  | kV | - U - SB - RS - PUMP |
| Governor Droop (R) |  | % | U |
| Short-circuit Ratio |  |  | U |
| Rated stator current |  | Amps | U |
| Capability chart showing full range of operating capability of the Generating Unit including thermal and excitation limits |  | - | U |
| Open circuit magnetisation curves |  | - | U |
| Short circuit characteristic |  | - | U |
| Zero power factor curve |  | - | U |
| V curves |  | - | U |
| & Ability of the generator to start with any fuel |  | YES/NO | U |
| & Ability to change fuels on-load |  | YES/NO | U |
| & Available operating modes (lean burn, etc) |  | - | U |
| & Time to change modes on-load |  |  | U |
| & “Black Start” capability |  | YES/NO | - U - SB - RS - PUMP |

| Registered Characteristics of the Balancing Service Entity |  |  |  |
| --- | --- | --- | --- |
| Description | Description/ Numerical value | Unit of measurement | To be completed by the applicant in accordance with the memorandum * |
| & Forbidden continuous operation zones due to oscillations for Hydroelectric Plants | (……, ……) | (MW, MW) upper and lower zone limits | U (Hydro) |
| Time of transition to a different thermal state before going into longer standby conditions |  |  |  |
| & From hot to warm |  | hours | U |
| & From warm to cold |  | hours |  |
| & From hot to cold |  | hours |  |
| Time to synchronisation |  |  |  |
| & From hot state |  | hours | U |
| & From warm state |  | hours |  |
| & From cold state |  | hours |  |
| & Minimum additional time added to the time for synchronisation in case of recall from longer standby conditions |  | hours | U |
| & Minimum additional time added to the time for synchronisation in case of recall from total non-availability state |  | hours | U |
| & Soaking time from each thermal state (hot, warm, cold) | Hot: Warm: Cold: | hours | U |
| Soak trajectory: The generation level during soak time from synchronisation up to, at most, the minimum stable generation of each generating unit, i.e. the exact generation level for up to twenty-four (24) 15-minute-steps. |  |  |  |
| & From hot state |  | MW / Dispatch Period | U |
| & From warm state |  | MW / Dispatch Period |  |
| & From cold state |  | MW / Dispatch Period |  |
| & Down time from Technically Minimum Generation to de-synchronisation |  | hours | U |
| Environmental characteristics of the unit |  |  |  |
| & CO2 emission curve in relation to the Active Power Output. |  | tn CO2 / MW | - U - CN |
| & SO2 emission curve in relation to the Active Power Output. |  | tn SO2 / MW |  |

| Registered Characteristics of the Balancing Service Entity |  |  |  |
| --- | --- | --- | --- |
| Description | Description/ Numerical value | Unit of measurement | To be completed by the applicant in accordance with the memorandum * |
| & NOx emission curve in relation to the Active Power Output. |  | tn NOx / MW |  |

| Registered Characteristics of the Balancing Service Entity |  |  |  |
| --- | --- | --- | --- |
| A.3 Additional data on Dispatchable Generating Units and Dispatchable Non-Intermittent RES Units (U, CN) |  |  |  |
| & Heat Rate Heat rate (in GJ/MWh) for net generation between the Technically Minimum Generation and the maximum Net Capacity (NCAP), at ten (10) levels of net generation (in MW) two of which are the ends of the above period. These points must be selected so that the derived specific fuel consumption curve approaches the real one. The points resulting from an estimation according to the measurements made (as opposed to actual measurements) must be indicated on the diagram. | Net Generation Levels (MW) | Measured Heat Rate (GJ/MWh) | Calculated Heat Rate (GJ/MWh) |
|  | 1. |  |  |
|  | 2. |  |  |
|  | 3. |  |  |
|  | 4. |  |  |
|  | 5. |  |  |
|  | 6. |  |  |
|  | 7. |  |  |
|  | 8. |  |  |
|  | 9. |  |  |
|  | 10. |  |  |

| Registered Characteristics of the Balancing Service Entity |  |  |  |
| --- | --- | --- | --- |
| A.4 Additional data on Dispatchable Multi-Shaft Combined Cycle Generating Units which can be operated with more than one configurations (U) |  |  |  |
| & Transition table, which includes any possible transition from one configuration to another, as well as the corresponding transition time. For the purposes of this table, the “off” status is not considered a separate configuration. | Initial configuration | Final Configuration | Transition time (half hours) |

| Registered Characteristics of the Balancing Service Entity |  |  |
| --- | --- | --- |
| A.5 Additional technical data on the Balancing Service Entities (All entities) |  |  |
| Description | Description/Numerical value | Unit of measurement |
| & Maximum contribution to upward FCR |  | MW |
| & Maximum contribution to downward FCR |  | MW |
| & Maximum contribution to upward manual FRR |  | MW |
| & Maximum contribution to downward manual FRR |  | MW |
| & Ramp Up Rate in AGC mode (for provision of automatic FRR) |  | MW/min |
| & Ramp Down Rate in AGC mode (for provision of automatic FRR) |  | MW/min |
| & Maximum Load under Automatic Generation Control (AGC) (for provision of automatic FRR) |  | MW |
| & Minimum Load under Automatic Generation Control (AGC) (for provision of automatic FRR) |  | MW |
| & Maximum contribution to upward Automatic FRR |  | MW |
| & Maximum contribution to downward Automatic FRR |  | MW |
| & Ramp Up Rate |  | MW/min |
| & Ramp Down Rate |  | MW/min |

The HETS Operator reserves the right to request from the Balancing Service Providers additional data in relation to the above on the Entities they represent, if this is deemed reasonably necessary.

| MEMORANDUM |  |
| --- | --- |
| Balancing Service Entity | Characterisation |
| Generating Units | U |
| Big BESS | SB |
| RES Unit with big storage | RS |
| Storage Portfolio | SP |
| Non-Intermittent Generating Unit | CN |
| Intermittent Generating Unit | IR |
| Load Portfolio | DR |
| Pump | PUMP |
| All of the above | All entities |