According to the specifications of this Technical Decision, the Balancing Service Provider is obliged to prepare and submit to the HETS Operator a technical report per Dispatchable Storage Portfolio, Dispatchable Non-Intermittent Generation Portfolio, Dispatchable Intermittent Generation Portfolio and Dispatchable Load Portfolio, analysing the technical readiness of the portfolio for the provision of Balancing Services.

The technical report is a proof of the portfolio capability to comply with the relevant requirements of the Balancing Market Rulebook, as per its declared Registered Characteristics, which are confirmed and updated as required after carrying out the necessary tests.

Apart from the technical report, when applying for pre-registration with the Registry, the Balancing Service Provider shall submit to the HETS Operator all the necessary evidence and certificates for its equipment (including any flow diagrams and description of infrastructure as required) to document the readiness of operation of each represented portfolio.

Requested Information

General Information:

- Name or trade Name of the Balancing Service Provider

- EIC Code of the Balancing Service Provider

- Type and Name of the portfolio

Balancing Service Provision:

The following information shall be at least submitted (along with the relevant manufacturer’s manuals, flow diagrams. single-line diagrams, certifications or other appropriate documents):

- Documentation to support the capability to provide Balancing Energy and Balancing Capacity for all the relevant products that can be provided by the portfolio.

- Documentation to support the value of the Registered Characteristics of the portfolio that are already known, in accordance with the Table of Registered Characteristics of this Technical Decision, as they were submitted at the stage of pre-registration of the portfolio with the HETS Operator Registry.

- A description of the systems used for communication with the Balancing Market Operating and Dispatch Instruction System.

- A description of the facilities and of the control and telemetry systems whereby the Dispatch Instructions sent by the HETS Operator in the context of the Balancing Market are executed and Balancing Energy and Capacity are provided.

- A description of the procedures to be applied in the event of errors in the communication with the HETS Operator or other failure situations.